## Abstract
Detalis of Provisional Power Purchase during FY 2021-22
S.N. | Name of Generating Stations |  | Capacity |  | Allocation w.e.f. 15-05-2019 |  | Allocation w.e.f. 06-09-2019 |  |  | Allocation w.e.f. 01-03-2020 |  |  | Allocation w.e.f. 21-04-2021 |  | Allocation w.e.f. 23-07-2021 |  |  | Allocation w.e.f. 01-09-2021 |  |  | Allocation w.e.f. 04-09-2021 |  | Allocation w.e.f. 12-11-2021 |  |  | Allocation w.e.f. 08-12-2021 |  | Allocation w.e.f. 21-12-2021 |  | Allocation w.e.f. 27-03-2022 |  | Allocation w.e.f. 30-03-2022 |  | Allocation w.e.f. 10-04-2022 |  | Allocation w.e.f. 01-06-2022 |  | Allocation w.e.f. 01-07-2022
|  |  | MW | Units | % | MW | % | MW | Remarks | % | MW | Remarks | % | MW | % | MW | Remarks | % | MW | Remarks | % | MW | % | MW | Remarks | % | MW | % | MW | % | MW | % | MW | % | MW | % | MW | % | MW
1 | NTPC | Farrakka I & II | 1600 | 3X200+2X500 | 8.5743 | 137.189 | - | - | U#1 CoD i.e. 660MW Actual allocation will be 21.62 MW | - | - | U#1 CoD i.e. 800 MW Actual allocation will be 73.26 MW | - | - | - | - | U#2 CoD i.e. 660 + 660 = 1320MW Actual allocation shall be 43.24 MW | - | - | U#2 CoD | 8.5743 | 137.19 | - | - | U#1 CoD i.e. 660 MW | 8.5743 | 137.19 | 8.5743 | 137.19 | 8.5743 | 137.19 | - | - | - | - | - | - | - | -
|  | Farrakka III | 500 | 1X500 | 16.9485 | 84.742 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | 10.4485 | 52.242 | 16.9485 | 84.742 | 10.4485 | 52.242 | - | - | 10 | 50 | - | - | - | -
|  | Khalagaon I | 840 | 4X210 | 3.2008 | 26.886 | - | - |  | - | - |  | 3.2049 | 26.921 | - | - |  | - | - |  | 3.2049 | 26.921 | - | - |  | 3.2049 | 26.921 | 3.2049 | 26.921 | - | - | - | - | - | - | - | - | - | -
|  | Talcher | 1000 | 2X500 |  |  | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | Khalagaon II | 1500 | 3X500 | 1.2486 | 18.728 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - |  |  | 1.2486 | 18.728 | - | -
|  | Barh I | 1980 | 1 X 660 | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | 12 | 79.2 |  | - | - | - | - | - | - | 1.8 | 11.88 | 0 | 0 |  |  | 0 | 0
|  | Barh II | 1320 | 2 X 660 | 7.0813 | 93.473 | - | - |  | - | - |  | 7.0865 | 93.542 | - | - |  | - | - |  | - | - | - | - |  | 4.0565 | 53.546 | 7.0865 | 93.542 | - | - | 1.0265 | 13.55
|  | Korba | 2600 | 3X200+4X500 | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - |  |  | - | - | - | -
|  | Darlipalli | 1600 | 2 X 800 | - | - | - | - |  | 9.22 | 145.62 |  | - | - | - | - |  | 9.22 | 147.52 |  | - | - | - | - |  | - | - | - | - | - | - | - | - |  |  | - | - | - | -
|  | Kanti Power | 390 | 2 X 195 | 3.433 | 13.389 | - | - |  | - | - |  | - | - | - | - |  | - |  |  | - | - | - | - |  | - | - | - | - | - | - | 0.333 | 1.2987 | 0 | 0
|  | Nabinagar | 1980 | 3 X 660 | - | - | 3.276 | 64.86 |  | - | - |  | - | - | 3.276 | 64.86 |  | - | - |  | - | - | - | - |  | 1.4575 | 19.239 | 3.2757 | 43.2392 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0919 | 21.6195
|  | Grand Total | 15310 | - | - | 374.407 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2 | NHPC | Rangit | 60 | - | 13.33 | 8 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | Teesta | 510 | - | 12.34 | 62.93 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | Total | 570 | - | - | 70.93 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | -
3 | PTC | Chukha | 270 | - | 10.74 | 29 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | Tala | 1020 | - | 11.46 | 116.89 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | Total | 1290 | - | - | 145.89 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | -
4 | Total Central Sector |  | 17170 | - | - | 591.227 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | -
80.3

## Sheet2
NTPC | Farrakka I & II | 137.19
| Farrakka III | 84.742
| Khalagaon I | 26.921
| Talcher | 76.7
| Khalagaon II | 18.728
| Barh I | 79.2
| Barh II | 93.542
| Korba | -
| Darlipalli | 147.52
| Kanti Power | 13.389
| Nabinagar | 93.542
| Grand Total | 771.4739
NHPC | Rangit | 8
| Teesta | 62.93
| Total | 70.93
PTC | Chukha | 29
| Tala | 116.89
| Total | 145.89
Total Central Sector |  | 988.2939

## CS
Name of Generating Stations |  | Installed Capacity (MW) |  | Current Allocation (%) | Current Allocation (MW)
NTPC | Farrakka I & II | 1600 | 3X200+2X500 | 7.3525 | 117.6406
| Farrakka III | 500 | 1X500 | 11.2082 | 56.041
| Khalagaon I | 840 | 4X210 | 2.0857 | 17.5201
| Talcher | 1000 | 2X500 | 6.5722 | 65.7224
| Khalagaon II | 1500 | 3X500 | 0.61296 | 9.1943
| Barh I | 660 | 1 X 660 | 0.8991 | 5.9341
| Barh II | 1320 | 2 X 660 | 1.2945 | 17.0868
| Korba 7 | 500 | 1X500 |  | 50
| Darlipalli I | 1600 | 2 X 800 | 9.3034 | 148.8545
| KBUNL II | 390 | 2 X 195 | 0.71569 | 2.7912
| Nabinagar | 1980 | 3 X 660 | 1.6451 | 32.5723
| N. Karanpura | 660 | 3 X 660 | 26.7262 | 176.3929 | 1313421.6332 | 1313421633.1764 | 1313.4216 | 6041739512.6114 | 604.174 | 4.6
| Grand Total | 12550 | - | - | 699.7501
NHPC | Rangit | 60 | - | 12.9818 | 7.7891
| Teesta V | 510 | - | 11.9491 | 60.9403
| Total | 570 | - |  | 68.7295
PTC | Chukha | 270 | - | 10.2205 | 27.5955
| Tala | 1020 | - | 11.46 | 116.892
| Kurichu | 60 |  | 0.81978 | 0.49187 | 3662.4625 | 3662462.5308 | 3.6625 | 9156156.327 | 0.91562 | 2.5
| Mangdechhu | 720 |  | 1.1808 | 8.5019 | 63305.338 | 63305338.0176 | 63.3053 | 260817992.6325 | 26.0818 | 4.12
| Total | 2070 | - | - | 153.4813
Total Central Sector |  | - | - | - | 921.9609

## All
Name of Generating Stations |  | Capacity |  | Allocation w.e.f. Aug-2018 |  |  | Allocation w.e.f. 15-05-2019 |  | Allocation w.e.f. 06-09-2019 |  |  | Allocation w.e.f. 01-03-2020 |  |  | Allocation w.e.f. 21-04-2021 |  | Allocation w.e.f. 23-07-2021 |  |  | Allocation w.e.f. 01-09-2021 |  |  | Allocation w.e.f. 04-09-2021 |  | Allocation w.e.f. 12-11-2021 |  |  | Allocation w.e.f. 08-12-2021 |  | Allocation w.e.f. 21-12-2021 |  | Allocation w.e.f. 27-03-2022 |  | Allocation w.e.f. 30-03-2022 |  | Allocation w.e.f. 10-04-2022 |  | Allocation w.e.f. 01-06-2022 |  | Allocation w.e.f. 01-07-2022 |  | Peak Hrs Availability | Off-Peak Hrs Availability
|  | MW | Units | Capacity | % | MW | % | MW | % | MW | Remarks | % | MW | Remarks | % | MW | % | MW | Remarks | % | MW | Remarks | % | MW | % | MW | Remarks | % | MW | % | MW | % | MW | % | MW | % | MW | % | MW | % | MW | MW | MW
NTPC | Farrakka I & II | 1600 | 3X200+2X500 | 1496.5 | 8.5743 | 128.3143 | 8.5743 | 137.189 | - | - | U#1 CoD i.e. 660MW Actual allocation will be 21.62 MW | - | - | U#1 CoD i.e. 800 MW Actual allocation will be 73.26 MW | - | - | - | - | U#2 CoD i.e. 660 + 660 = 1320MW Actual allocation shall be 43.24 MW | - | - | U#2 CoD | 8.5743 | 137.19 | - | - | U#1 CoD i.e. 660 MW | 8.5743 | 137.19 | 8.5743 | 137.19 | 8.5743 | 137.19 | - | - | - | - | - | - | - | - | 85 | 85
| Farrakka III | 500 | 1X500 | 471.25 | 16.9485 | 79.8697 | 16.9485 | 84.742 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | 10.4485 | 52.242 | 16.9485 | 84.742 | 10.4485 | 52.242 | - | - | 10% | 50 |  |  |  |  | 45 | 45
| Khalagaon I | 840 | 4X210 | 764.4 | 3.2008 | 24.4665 | 3.2008 | 26.886 | - | - |  | - | - |  | 3.2049 | 26.921 | - | - |  | - | - |  | 3.2049 | 26.921 | - | - |  | 3.2049 | 26.921 | 3.2049 | 26.921 | - | - | - | - | - | - | - | - | - | - | 24 | 24
| Talcher | 1000 | 2X500 | 942.5 | 7.6677 | 72.2677 | 7.6677 | 76.6766 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 71 | 66
| Khalagaon II | 1500 | 3X500 | 1413.75 | 1.2486 | 17.6516 | 1.2486 | 18.728 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 17 | 17
| Barh I | 1980 | 3 X 660 |  |  | 0 | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | 12 | 79.2 |  | - | - | - | - | - | - | 1.8 | 11.88 | - | - | 0% | 0 | 0% | 0 | 0 | 0
| Barh II | 1320 | 2 X 660 | 1244.11 | 7.0813 | 88.099 | 7.0813 | 93.473 | - | - |  | - | - |  | 7.0865 | 93.542 | - | - |  | - | - |  | - | - | - | - |  | 4.0565 | 53.546 | 7.0865 | 93.542 | - | - | 1.0265 | 13.55 | - | - | 0% | 0 | - | - | 0 | 0
| Korba | 2600 | 3X200+4X500 |  |  | 0 | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 39 | 45
| Darlipalli | 1600 | 2 X 800 |  |  | 0 | - | - | - | - |  | 9.22 | 145.62 |  | - | - | - | - |  | 9.22 | 147.52 |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 67 | 67
| Kanti Power | 390 | 2 X 195 | 354.8 | 3.433 | 12.1803 | 3.433 | 13.389 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | 0.333 | 1.2987 | - | - | - | - | - | - | 0 | 0
| Nabinagar I | 1980 | 3 X 660 |  |  | 0 | [29 empty] | 0 | 0 | 1.092% | 21.6195 | - | -
| Grand Total | 15310 | - |  |  | 0 | - | 451.0836 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 348 | 349
NHPC | Rangit | 60 | - | 59.4 | 13.33 | 7.918 | 13.33 | 8 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7 | 5
| Teesta | 510 | - | 503.88 | 12.34 | 62.1788 | 12.34 | 62.93 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 60 | 20
| Total | 570 | - |  |  | 0 | - | 70.93 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 67 | 25
PTC | Chukha | 270 | - | 270 | 10.74 | 28.998 | 10.74 | 29 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 9 | 13
| Tala | 1020 | - | 1009.8 | 11.46 | 115.7231 | 11.46 | 116.89 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 5 | 0
| Total | 1290 | - |  |  | 0 | - | 145.89 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 14 | 13
Total Central Sector |  | 17170 | - |  |  | 0 | - | 667.9036 | - | - |  | - | - |  | - | - | - | - |  | - | - |  | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 429 | 387
DVC | KTPS (OA) |  |  |  |  | 0 | [35 empty] | 497 | 497
| HT Points |  |  |  |  | 0 | [35 empty] | 50 | 50
| Total |  |  |  |  | 0 | [35 empty] | 547 | 547
Tenughat Vidyut Nigam Ltd. | [5 empty] | 0 | [35 empty] | 330 | 330
Adhunik (APNRL) | [5 empty] | 0 | [35 empty] | 183 | 183
Solar Power | SECI (Tranche-I) |  |  |  |  | 0 | [35 empty] | 0 | 222
| SECI (MNRE-II) |  |  |  |  | 0 | [35 empty] | 0 | 4
| State IPPs (MNRE-I) |  |  |  |  | 0 | [35 empty] | 0 | 10
| Total |  |  |  |  | 0 | [35 empty] | 0 | 236
Wind Power | PTC |  |  |  |  | 0 | [35 empty] | 50 | 51
| SECI |  |  |  |  | 0 | [35 empty] | 25 | 38
| Total |  |  |  |  | 0 | [35 empty] | 75 | 89
Inland Power Ltd.,Gola | [5 empty] | 0 | [35 empty] | 55 | 55
SRHP, Sikidiri | [5 empty] | 0 | [35 empty] | 0 | 0
DVC (RTPS) | [5 empty] | 0 | [35 empty] | 34 | 34
Power Exchange | [5 empty] | 0 | [35 empty] | 41 | 61
Grand Total | [5 empty] | 0 | [35 empty] | 1694 | 1922

## 27th may'22
Schedule date :- 03-08-2022
Name of Generating Stations |  | Capacity |  |  | Allocation Present |  | Off peak hrs | Peak Hrs
|  | MW | Units |  | % | MW | MW | MW
NTPC | Farrakka I & II | 1600 | 3X200+2X500 | 1600 | 8.5743 | 137.1887 | 44 | 44 | unit 4 s/dBTL
| Farrakka III | 500 | 1X500 | 500 | 10.1345 | 50 | 0 | 0 | 1 unit s/d TECH
| Khalagaon I | 840 | 4X210 | 840 | 3.2049 | 26.9213 | 22 | 22
| Talcher | 1000 | 2X500 | 1000 | 7.6677 | 76.6766 | 70 | 70
| Khalagaon II | 1500 | 3X500 | 1500 | 1.2486 | 18.7285 | 17 | 17
| Korba | 2600 | 3X200+4X500 | 2600 |  | 50 | 45 | 45
| Darlipalli | 1600 | 1 X 800 | 800 | 9.22 | 73.76 | 37 | 37 | 1 unit s/d btl
| Total | 9640 | - |  | - | 433.2751 | 235 | 235
NHPC | Rangit | 60 | 3 X 20 | 60 | 13.33 | 7.998 | 7 | 7
| Teesta | 510 | 3X170 | 510 | 12.34 | 62.934 | 0 | 0 | reservior flushing work
| Total | 570 | - |  | - | 70.932 | 7 | 7
PTC | Chukha | 270 | - |  | 10.74 | 28.998 | 12 | 12
| Tala | 1020 | - |  | 11.46 | 116.892 | 106 | 106
| Total | 1290 | - |  | - | 145.89 | 118 | 118
Total Central Sector |  | 11500 | - |  | - | 650.0971 | 360 | 360
DVC | KTPS (OA) |  |  |  |  | 600 | 420 | 420
| HT Points |  |  |  |  | 54 | 50 | 50
| Total |  |  |  |  | 654 | 470 | 470
Tenughat Vidyut Nigam Ltd. | [5 empty] | 420 | 300 | 300
Adhunik (APNRL) | [5 empty] | 189 | 100 | 100 | regulation 88MW
Solar Power | [5 empty] | 341 | 300 | 0 | day hours
Wind Power | [5 empty] | 300 | 100 | 100
Inland Power Ltd.,Gola | [5 empty] | 58 | 55 | 55
SRHP, Sikidiri | [5 empty] | 130 | 0 | 0 | SHORTAGE OF WATER
DVC (RTPS) | [5 empty] | 35 | 0 | 0
Grand Total | [5 empty] | 2777.0971 | 1685 | 1385
Power Exchange ( On an Average) | [6 empty] | 0 | 100
URS | [6 empty] | 0 | 0 | Night hours
| Total | [5 empty] | 1685 | 1485
Availability of Power in JUSNL area | [6 empty] | 1215 | 1015
Note:
1 | one unit Generation of SRHP completely depends upon availability of water in Resevior.
2 | DVC has agreed to supply additional 100MW power from DurgapurSTPS and BokaroSTPS to JBVNL.
3 | North karnpura TPS has informed that unscheduled power has been started from June-22. and 150MW firm power from July-22 onwards in three phases.

## Apr-22
Name of Generating Stations |  | Capacity |  |  | Allocation Present |  | Peak Hrs Availability | Off-Peak Hrs Availability
|  | MW | Units |  | % | MW | MW | MW
NTPC | Farrakka I & II | 1600 | 3X200+2X500 | 1600 | 8.5743 | 137.1887 | 85 | 85
| Farrakka III | 500 | 1X500 | 500 | 10.1345 | 50 | 45 | 45
| Khalagaon I | 840 | 4X210 | 840 | 3.2049 | 26.9213 | 24 | 24
| Talcher | 1000 | 2X500 | 1000 | 7.6677 | 76.6766 | 70 | 62
| Khalagaon II | 1500 | 3X500 | 1500 | 1.2486 | 18.7285 | 17 | 17
| Korba | 500 | 1X500 | 500 | 10 | 50 | 45 | 45
| NPGCL | 1980 | 3X660 | 1980 | 1.0919 | 21.6196
| Darlipalli | 1600 | 2 X 800 | 1600 | 9.22 | 147.52 | 67 | 67
| Total | 9520 | - |  | - | 528.6548 | 353 | 345
NHPC | Rangit | 60 | 3 X 20 | 60 | 13.33 | 7.998 | 7 | 5
| Teesta | 510 | 3X170 | 510 | 12.34 | 62.934 | 60 | 20
| Total | 570 | - |  | - | 70.932 | 67 | 25
PTC | Chukha | 270 | - |  | 10.74 | 28.998 | 6 | 15
| Tala | 1020 | - |  | 11.46 | 116.892 | 4 | 0
| Total | 1290 | - |  | - | 145.89 | 10 | 15
Total Central Sector |  | 11380 | - |  | - | 745.4768 | 430 | 385
DVC | KTPS (OA) |  |  |  |  | 600 | 497 | 497
| HT Points |  |  |  |  | 8 | 50 | 50
| Total |  |  |  |  | 608 | 547 | 547
Tenughat Vidyut Nigam Ltd. | [5 empty] | 420 | 330 | 330
Adhunik (APNRL) | [5 empty] | 189 | 183 | 183
Solar Power | [5 empty] | 476 | 219 | 0
Wind Power | [5 empty] | 300 | 28 | 80
Inland Power Ltd.,Gola | [5 empty] | 63 | 55 | 55
SRHP, Sikidiri | [5 empty] | 130 | 0 | 0
DVC (RTPS) | [6 empty] | 34 | 34
Grand Total | [5 empty] | 2931.4768 | 1826 | 1614
Power Exchange ( On an Average) | [6 empty] | 177 | 58
Note:
1 | Generation of SRHP completely depends upon availability of water in Resevior.
2 | DVC has agreed to supply additional 100MW power from DurgapurSTPS and BokaroSTPS to JBVNL.
3 | North karnpura TPS has informed that unscheduled power has been started from June-22. and 150MW firm power from July-22 onwards in three phases.

## Sheet1
Name of Generating Stations |  | Capacity |  | Allocation Present
|  | MW | Units | % | MW
NTPC | Farrakka I & II | 1600 | 3X200+2X500 | 8.574% | 137.19
| Farrakka III | 500 | 1X500 | 10% | 50
| Khalagaon I | 840 | 4X210 | 3.205% | 26.921
| Talcher | 1000 | 2X500 | 7.668% | 76.6766
| Khalagaon II | 1500 | 3X500 | 1.249% | 18.728
| Barh I | 1980 | 3 X 660 | 0% | 0
| Barh II | 1320 | 2 X 660 | 0% | 0
| KSTPS Korba | 2600 | 3X200+4X500 |  | 50
| Darlipalli | 1600 | 2 X 800 | 9.22% | 73.76
| Kanti Power | 390 | 2 X 195 | 0.333% | 1.2987
| Nabinagar I | 1980 | 3 X 660 | 1.092% | 21.6195
| Grand Total | 15310 | - |  | 456.1938
NHPC | Rangit | 60 | - | 13.33% | 8
| Teesta | 510 | - | 12.34% | 62.93
| Total | 570 | - |  | 70.93
PTC | Chukha | 270 | - | 10.74% | 29
| Tala | 1020 | - | 11.46% | 116.89
| Total | 1290 | - |  | 145.89
Total Central Sector |  | 17170 | - |  | 673.0138
DVC | KTPS (OA) |  |  |  | 600
| HT Points |  |  |  | 8.5
| Total |  |  |  | 608.5
Tenughat Vidyut Nigam Ltd. |  |  |  |  | 420
Adhunik (APNRL) |  |  |  |  | 188.85
Solar Power | SECI (Tranche-I) |  |  |  | 450
| SECI (MNRE-II) |  |  |  | 10
| State IPPs (MNRE-I) |  |  |  | 16
| Total |  |  |  | 476
Wind Power | PTC |  |  |  | 200
| SECI |  |  |  | 100
| Total |  |  |  | 300
Inland Power Ltd.,Gola |  |  |  |  | 63
SRHP, Sikidiri |  |  |  |  | 130
Grasim Ltd |  |  |  |  | 1
Power Exchange
Grand Total |  |  |  |  | 2860.3638

## 01-05-23
S.N. | Name of Generating Stations |  | Capacity | Allocation Present
|  |  | MW | % | MW
1 | NTPC | Farrakka I &II | 1600 | 7.4566 | 119.3055
|  | Farrakka III | 500 | 11.3375 | 56.6874
|  | Khalagaon I | 840 | 2.1805 | 18.3161
|  | Talcher | 1000 | 6.6656 | 66.6557
|  | Khalagaon II | 1500 | 0.67854 | 10.1781
|  | Barh I | 660 | 0.9953 | 6.569
|  | Barh II | 1320 | 1.433 | 18.915
|  | Korba | 500 | 10 | 50
|  | Darlipalli I | 1600 | 9.46 | 151.3597
|  | N. Karnpura | 660 | 26.8841 | 177.4354
|  | Kanti Power | 390 | 0.79227 | 3.0898
|  | Nabinagar | 1980 | 1.713 | 33.9176
|  | Total | - | - | 712.4292
2 | NHPC | Rangit | 60 | 12.3541 | 7.4125
|  | Teesta v | 510 | 9.4741 | 48.3181
|  | Total | - | - | 55.7306
3 | PTC | Chukha | 270 | 10.3629 | 27.9799
|  | Tala | 1020 | 11.46 | 116.892
|  | Kurichu | 60 | 0.9075 | 0.5445
|  | Mangdechhu | 720 | 1.3072 | 9.4116
|  | Total | - | - | 154.8279
4 | Total Central Sector |  | - | - | 922.9877
5 | DVC | KTPS (OA) |  |  | 600
|  | HT Points |  |  | 8
|  | Total |  |  | 608
6 | Tenughat Thermal Power Station |  | 420 |  | 420
7 | Adhunik Power & Natural Resource Ltd. |  | 540 |  | 188.85
8 | Solar Power | SECI (Tranche-I) |  |  | 450
|  | SECI (MNRE-II) |  |  | 10
|  | State IPPs (MNRE-I) |  |  | 16
|  | Total |  |  | 476
9 | Wind Power | PTC |  |  | 200
|  | SECI |  |  | 100
|  | Total |  |  | 300
10 | Inland Power Ltd. (IPL) |  |  |  | 63
11 | SRHP, Sikidiri |  |  |  | 130
12 | Grand Total |  |  |  | 3108.8377

## 30-05-23
S.N. | Name of Generating Stations |  | Capacity | Allocation Present
|  |  | MW | % | MW
1 | NTPC | Farrakka I &II | 1600 | 7.4595 | 119.3516
|  | Farrakka III | 500 | 11.3411 | 56.7053
|  | Khalagaon I | 840 | 2.1831 | 18.3382
|  | Talcher | 1000 | 6.6682 | 66.6815
|  | Khalagaon II | 1500 | 0.68035 | 10.2053
|  | Barh I | 660 | 0.99797 | 6.5866
|  | Barh II | 1320 | 1.4368 | 18.9656
|  | Korba | 500 | 10 | 50
|  | Darlipalli I | 1600 | 9.4643 | 151.4291
|  | N. Karnpura | 660 | 26.8885 | 177.4642
|  | Kanti Power | 390 | 4.1291 | 16.1034
|  | Nabinagar | 1980 | 1.7149 | 33.9549
|  | Total | - | - | 725.7857
2 | NHPC | Rangit | 60 | 12.3585 | 7.4151
|  | Teesta v | 510 | 9.4785 | 48.3405
|  | Total | - | - | 55.7556
3 | PTC | Chukha | 270 | 10.3669 | 27.9905
|  | Tala | 1020 | 11.46 | 116.892
|  | Kurichu | 60 | 0.90992 | 0.54595
|  | Mangdechhu | 720 | 1.3107 | 9.4368
|  | Total | - | - | 154.8652
4 | Total Central Sector |  | - | - | 936.4065
5 | DVC | KTPS (OA) |  |  | 600
|  | HT Points |  |  | 8
|  | Total |  |  | 608
6 | Tenughat Thermal Power Station |  | 420 |  | 420
7 | Adhunik Power & Natural Resource Ltd. |  | 540 |  | 188.85
8 | Solar Power | SECI (Tranche-I) |  |  | 450
|  | SECI (MNRE-II) |  |  | 10
|  | State IPPs (MNRE-I) |  |  | 16
|  | Total |  |  | 476
9 | Wind Power | PTC |  |  | 200
|  | SECI |  |  | 100
|  | Total |  |  | 300
10 | Inland Power Ltd. (IPL) |  |  |  | 63
11 | SRHP, Sikidiri |  |  |  | 130
12 | Grand Total |  |  |  | 3122.2565

## 01-08-2023
Present Allocation of Power from Various Generating Companies
S.N. | Name of Generating Stations |  | Capacity | Allocation Present
|  |  | MW | % | MW
1 | National Themal Power Corporation (NTPC) | Farrakka I &II | 1600 | 7.4595 | 119.3516
|  | Farrakka III | 500 | 11.3411 | 56.7053
|  | Khalagaon I | 840 | 2.1831 | 18.3382
|  | Talcher | 1000 | 6.6682 | 66.6815
|  | Khalagaon II | 1500 | 0.68035 | 10.2053
|  | Barh I | 1320 | 6.4182 | 84.7208
|  | Barh II | 1320 | 1.4368 | 18.9656
|  | Korba | 500 | 10 | 50
|  | Darlipalli I | 1600 | 9.4643 | 151.4291
|  | N. Karnpura | 660 | 26.8885 | 177.4642
|  | Kanti Power | 390 | 4.1291 | 16.1034
|  | Nabinagar | 1980 | 1.7149 | 33.9549
|  | Total | - | - | 803.9199
2 | National Hydey Power Corporation (NHPC) | Rangit | 60 | 12.3585 | 7.4151
|  | Teesta v | 510 | 9.4785 | 48.3405
|  | Total | - | - | 55.7556
3 | PTC (Bhutan Hydel) | Chukha | 270 | 10.3669 | 27.9905
|  | Tala | 1020 | 11.46 | 116.892
|  | Kurichu | 60 | 0.90992 | 0.54595
|  | Mangdechhu | 720 | 1.3107 | 9.4368
|  | Total | - | - | 154.8652
4 | Total Central Sector |  | - | - | 1014.5407
5 | Damodar Valley Corporation (DVC) | KTPS (OA) |  |  | 600
|  | HT Points |  |  | 8
|  | Total |  |  | 608
6 | Tenughat Thermal Power Station, TTPS |  | 420 |  | 420
7 | Adhunik Power & Natural Resource Ltd., APNRL |  | 540 |  | 188.85
8 | Solar Power | SECI (Tranche-I) |  |  | 450
|  | SECI (MNRE-II) |  |  | 10
|  | State IPPs (MNRE-I) |  |  | 16
|  | Total |  |  | 476
9 | Wind Power | PTC |  |  | 200
|  | SECI |  |  | 100
|  | Total |  |  | 300
10 | Inland Power Ltd. (IPL) |  |  |  | 63
11 | SRHP, Sikidiri |  |  |  | 130 | -40
12 | Grand Total |  |  |  | 3200.3907
Note:- |  |  |  |  | 1963.3907
CoD of 2nd Unit (660MW) of Barh I (3X660) w.e.f 01-08-2023

## 20-03-2024
Present Allocation of Power from Various Generating Companies
S.N. | Name of Generating Stations |  | Capacity | Allocation Present
|  |  | MW | % | MW
1 | National Themal Power Corporation (NTPC) | Farrakka I &II | 1600 | 7.4595 | 119.3516
|  | Farrakka III | 500 | 11.3411 | 56.7053
|  | Khalagaon I | 840 | 2.1831 | 18.3382
|  | Talcher | 1000 | 6.6682 | 66.6815
|  | Khalagaon II | 1500 | 0.68035 | 10.2053
|  | Barh I | 1320 | 6.4182 | 84.7208
|  | Barh II | 1320 | 1.4368 | 18.9656
|  | Korba | 500 | 10 | 50
|  | Darlipalli I | 1600 | 9.4643 | 151.4291
|  | N. Karnpura | 1320 | 26.8885 | 354.9285
|  | Kanti Power | 390 | 4.1291 | 16.1034
|  | Nabinagar | 1980 | 1.7149 | 33.9549
|  | Total | - | - | 981.3841
2 | National Hydey Power Corporation (NHPC) | Rangit | 60 | 12.3585 | 7.4151
|  | Teesta v | 510 | 9.4785 | 48.3405
|  | Total | - | - | 55.7556
3 | PTC (Bhutan Hydel) | Chukha | 270 | 10.3669 | 27.9905
|  | Tala | 1020 | 11.46 | 116.892
|  | Kurichu | 60 | 0.90992 | 0.54595
|  | Mangdechhu | 720 | 1.3107 | 9.4368
|  | Total | - | - | 154.8652
4 | Total Central Sector |  | - | - | 1192.0049 | 2140.8549 | 1712.6839
5 | Damodar Valley Corporation (DVC) | KTPS (OA) |  |  | 600
|  | HT Points |  |  | 8
|  | Total |  |  | 608
6 | Tenughat Thermal Power Station, TTPS |  | 420 |  | 420
7 | Adhunik Power & Natural Resource Ltd., APNRL |  | 540 |  | 188.85
8 | Solar Power | SECI (Tranche-I) |  |  | 450
|  | SECI (MNRE-II) |  |  | 10
|  | State IPPs (MNRE-I) |  |  | 16
|  | Total |  |  | 476
9 | Wind Power | PTC |  |  | 200
|  | SECI |  |  | 100
|  | Total |  |  | 300
10 | Inland Power Ltd. (IPL) |  |  |  | 63
11 | SRHP, Sikidiri |  |  |  | 130
12 | Grand Total |  |  |  | 3377.8549
Note:- |  |  |  |  | 2140.8549
CoD of 2nd Unit (660MW) of N. Karanpura (3X660) w.e.f 20-03-2024

## 01-07-2024
Present Allocation of Power from Various Generating Companies
S.N. | Name of Generating Stations |  | Capacity | Allocation Present
|  |  | MW | % | MW
1 | National Themal Power Corporation (NTPC) | Farrakka I &II | 1600 | 7.4595 | 119.3516
|  | Farrakka III | 500 | 11.3411 | 56.7053
|  | Khalagaon I | 840 | 2.1831 | 18.3382
|  | Talcher | 1000 | 6.6682 | 66.6815
|  | Khalagaon II | 1500 | 0.68035 | 10.2053
|  | Barh I | 1320 | 6.5351 | 86.2629
|  | Barh II | 1320 | 1.552 | 20.4863
|  | Korba | 500 | 10 | 50
|  | Darlipalli I | 1600 | 9.4643 | 151.4291
|  | N. Karnpura | 1320 | 26.8885 | 354.9285
|  | Kanti Power | 390 | 4.1291 | 16.1034
|  | Nabinagar | 1980 | 1.7149 | 33.9549
|  | Total | - | - | 984.4469
2 | National Hydey Power Corporation (NHPC) | Rangit | 60 | 12.3585 | 7.4151
|  | Teesta v | 510 | 9.4785 | 48.3405
|  | Total | - | - | 55.7556
3 | PTC (Bhutan Hydel) | Chukha | 270 | 10.3669 | 27.9905
|  | Tala | 1020 | 11.46 | 116.892
|  | Kurichu | 60 | 0.90992 | 0.54595
|  | Mangdechhu | 720 | 1.3107 | 9.4368
|  | Total | - | - | 154.8652
4 | Total Central Sector |  | - | - | 1195.0677
5 | Damodar Valley Corporation (DVC) | KTPS (OA) |  |  | 600
|  | HT Points |  |  | 8
|  | Total |  |  | 608
6 | Tenughat Thermal Power Station, TTPS |  | 420 |  | 420
7 | Adhunik Power & Natural Resource Ltd., APNRL |  | 540 |  | 188.85
8 | Solar Power | SECI (Tranche-I) |  |  | 450
|  | SECI (MNRE-II) |  |  | 10
|  | State IPPs (MNRE-I) |  |  | 16
|  | Total |  |  | 476
9 | Wind Power | PTC |  |  | 200
|  | SECI |  |  | 100
|  | Total |  |  | 300
10 | Inland Power Ltd. (IPL) |  |  |  | 63
11 | SRHP, Sikidiri |  |  |  | 130
12 | Grand Total |  |  |  | 3380.9177